## Table 1
EDUCATION CITY KARACHI
ADMINISTRATION ENCLAVE (OFFICE BUILDING, STAFF BUILDING & EXTERNAL DEVELOPMENT) Volume - II a BILL OF QUANTITIES for CIVIL & ARCHITECTURAL WORKS
TENDER DOCUMENT December, 2022
EDUCATION CITY ADMINISTRATION ENCLAVE GRAND SUMMARY
A. | CIVIL & ARCHITECTURAL WORKS
i) | OFFICE BUILDING (1 Block) |  |  | Rs. 98,156,592 | 98156592
ii) | STAFF BUILDING (1 Block) |  |  | Rs. 16,488,582 | 16488582
iii) | EXTERNAL DEVELOPMENT |  |  | Rs. 56,917,845 | 56917845
|  | Sub-Total (A) |  | Rs. 171,563,019 | 171563019
B. | ELECTRICAL WORKS.
i) | OFFICE BUILDING (1 Block) |  |  | Rs. 87,843,050 | 87842050
ii) | STAFF BUILDING (1 Block) |  |  | Rs. 1,067,725 | 1067725
iii) | EXTERNAL DEVELOPMENT |  |  | Rs. 6,567,770 | 6567770
|  | Sub-Total (B) |  | Rs. 95,478,545 | 95477545
C. | MECHANICAL WORKS.
i) | OFFICE BUILDING (1 Block) |  |  | Rs.31,452,300 | 31452300
ii) | STAFF BUILDING (1 Block) |  |  | Rs. 2,939,200 | 2039200
iii) | EXTERNAL DEVELOPMENT |  |  | Rs. 310,900 | 310900
|  | Sub-Total (C) |  | Rs. 33,802,400 | 33802400
GRAND TOTAL (A+B+C) Rs. 300,842,964 |  |  |  |  | 300842964
CONTRACTOR'S SIGNATURE AND STAMP
OFFICE BUILDING

## Table 2
EDUCATION CITY KARACHI OFFICE BUILDING SUMMARY SHEET CIVIL & ARCHITECTURAL WORKS
|  | DIVISION | AMOUNT
DIVISION | 1 : | DISMANTLING WORK | Rs. NIL
DIVISION | 2 : | SITE WORK | 218166968
DIVISION | 3 : | CONCRETE | 282930231.51
DIVISION | 4 : | BLOCK MASONRY | 76617075.64
DIVISION | 5 : | METALS | 7914618.594
DIVISION | 6 : | WOOD WORK | 164000
DIVISION | 7 : | MOISTURE PROTECTION | 4724205
DIVISION | 8 : | DOORS / WINDOWS | 4724205
DIVISION | 9 : | FINISHES | 553940258
TOTAL : |  |  | 1149181561.744 | 12388 | 92765.7057
CONTRACTOR'S SIGNATURE AND STAMP

## Table 3
EDUCATION CITY, KARACHI. Bill of Quantities OFFICE BUILDING Division-2 Site Work
ITEM |  | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
2 |  | DIVISION 2. SITE WORK
2.1 | 18-B/4 | Excavation (Refer Spec's Section # 2300) Excavation for foundation of columns, walls, etc. in all kinds of soil upto any depth and lead including back filling of excavated earth in foundation trenches and spreading the approved surplus earth in plinth area and or depressions where required including making provision for shoring of loose soil if requried and removal of excavated earth upto 5'-0" from edge of exavation complete as per drawing and as directed by the Consultants. | 30000 | 1000 CFT | 3176.25 | 95287500
2.2 | 92 / 109 | Termite Proofing (Refer Spec's Section # 2360) Providing and carrying out termite proofing to all horizontal and vertical excavated surfaces to reduced level of excavation, layers of fill and under all floors, external area, courtyard and tree pits at every 6" layers shall received termite using "Agenda 25 EC" by Jaffer Brothers or approved equivalent and shall be applied as directed by the consultants. (Plinth Area) | 8200 | SFT | 9.74 | 79868
2.3 | 13-B / 3 | Earth Filling (Refer Spec's Section # 2300) Earth filling in plinth, depression and where ever required laid in 6" layer well watered, consolidated and compacted with mechanical means to achive 95% modified proctor density at optimum moisture contents complete as per drawing and as directed by the Consultants.
a |  | Brough from out Side | 28600 | 1000CFT | 354 | 10124400
2.3 | 22 / 4 | Earth Filling (Refer Spec's Section # 2300) Earth filling in plinth, depression and where ever required laid in 6" layer well watered, consolidated and compacted with mechanical means to achive 95% modified proctor density at optimum moisture contents complete as per drawing and as directed by the Consultants.
a |  | Brough from out Side | 28600 | 1000CFT | 3630 | 103818000
2.4 | 16 / 31 | Stone Soling (Refer Spec's Section # 2505) Providing and and laying stone soling to 6" thickness with broken stones and filling the voids with stone metal 3/4" to 1 1/2" size and fine sand, well rammed, watered, consolidated and compacted with mechanical means. complete as per drawing and as directed by the | 3300 | 100CFT | 2684 | 8857200
Total | [5 empty] | 218166968
3 |  | DIVISION - 3 CONCRETE
3.1 | 5(i) / 16 | 1:4:8 in Foundation (Refer Specs. Section # 3300) Providing and laying C.C. 1:4:8 bed concrete using sulphate resistance cement, graded screened bajri 3/8" and down gauge as fine aggregate and stone ballast 1" to 2" size as coarse aggregate in foundation over well compacted earth including levelling and curing etc. complete as per drawing and as directed by the Consultants. | 3000 | 100CFT | 11288.75 | 33866250
3.2 | 5(h) / 16 | 1:3:6 Cast - in - Situ (Refer Specs. Section # 3300) Providing and laying C.C 1:3:6 Cast -in- Situ using sulphate resistance cement, graded screened bajri 3/8" and down gauge as fine aggregate and crushed stone 3/4" and down gauge as coarse aggragate including form work and its removal, curing etc. having minimum works cube crushing strength of 1500 p.s.i. after 28 days curing complete as per drawing and as directed by the Consultants | 5500 | 100CFT | 12595 | 69272500
3.2 | 19(b ii) / 18 | 1:3:6 Cast - in - Situ (Refer Specs. Section # 3300) Providing and laying C.C 1:3:6 Cast -in- Situ using sulphate resistance cement, graded screened bajri 3/8" and down gauge as fine aggregate and crushed stone 3/4" and down gauge as coarse aggragate including form work and its removal, curing etc. having minimum works cube crushing strength of 1500 p.s.i. after 28 days curing complete as per drawing and as directed by the Consultants | 16418 | 100SFT | 3127.41 | 51345817.38 | 8208.9552 | 16417.9104
3.3 | 5(h) / 16 | 1:9 Sub Floor. (Refer Specs. Section # 3300) Providing and laying cement concrete 1:9 (1-cement, 9- graded screened bajri 3/8" and down gauge) for sub floor laid in level/slope as required including consolidating, curing etc. complete as per drawing and as directed by the Consultants.
a |  | 3"th | 1650 | 100CFT | 12595 | 20781750 | 1650 | 3300
b |  | 2"th | 1122 | 100CFT | 12595 | 14131590 | 1122
3.4 | 101/ 112 | Reinforced Cement Concrete (f'c 3.0 ksi, Cylindrical Strength) (Refer Specs. Section # 3300) Providing & placing straight or curved cast-in place designed mix Reinforced Cement Concrete having f'c 3.0 ksi (Cylindrical Strength) with machine mixing using S.R. / Ordinary Portland Cement, Erecting / Removing form work leaving unbroken concrete joints, compacting through electro-mechanical vibrator, curing, furnishing all constituent material including placing of all pipes, sleeves, conduits, fittings. Complete as per Drawings, Specifications and as directed by the Consultants. (Excluding cost of Steel Reinforcement)
Upto Plinth Level (Using S.R. Cement)
a. |  | Footing | 8700 | %CFT | 2716.11 | 23630157
Sub-Total
3 |  | DIVISION - 3 CONCRETE
b. | 6(a i) / 16-17 | Plinth Beams | 6000 | %CFT | 2716.11 | 16296660
c. | 6(a i) / 16-17 | Column under Plinth | 475 | %CFT | 2716.11 | 1290152.25
d. | 6(a i) / 16-17 | SOG 6" Thick | 3300 | %CFT | 2716.11 | 8963163
In Super Structure (Using O.P. Cement)
a. | 6(a i) / 16-17 | Columns | 1900 | %CFT | 2716.11 | 5160609
b. | 6(a i) / 16-17 | Beams | 1000 | %CFT | 2716.11 | 2716110
c. | 6(a i) / 16-17 | Slab
i | 6(a i) / 16-17 | 8"thick | 8300 | %CFT | 2716.11 | 22543713 |  | 12388.0597 | 0.67 | 8300
d. | 6(a i) / 16-17 | Staircase | 515 | %CFT | 2716.11 | 1398796.65
e. | 6(a i) / 16-17 | Lintle | 300 | %CFT | 2716.11 | 814833
3.5 | 8-a / 17 | Reinforcement Bars (Refer Specs. Section # 3300) Providing cutting, bending, binding and placing reinforcement tor steel bars in position on C.C. pre- cast spacer tying with binding 20SWG complete with the cost of binding wire etc. as per drawing and as directed by the Consultants. | 113 | TON | 94850.71 | 10718130.23 | 43.0357 | 94.8507 | 94850.7143
Sub-Total | [5 empty] | 282930231.51
Collection Division 3, Page 1 Division 3, Page 2
Total

## Table 4
EDUCATION CITY, KARACHI. Bill of Quantities OFFICE BUILDING Division - 4 Block Masonry
ITEM |  | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
4 |  | DIVISION 4. BLOCK MASONRY
4.1 | 23 / 19 | Block Masonry (Refer Spec's Section # 4050 & 4200) Providing and laying solid concrete block wall (having strength 800 psi minimum) laid in 1:4 cement mortar including curing,raking out of joints etc, complete as per drawings and as directed by the Consultants.
a |  | 6" thick | 4450 | 100CFT | 14621.44 | 65065408 | 4450
b |  | 4" thick | 231 | 100CFT | 14621.44 | 3377552.64 | 231
4.2 | 5(h) / 16 | Cement Concrete Plateform (Refer Specs. Section # 3300) Providig and laying 1:3:6 Plateform 4" high including levelling, curing, etc,complete as per drawings and as directed by the Consultants. | 17 | 100CFT | 12595 | 214115 |  | 16.5
4.3 |  | Ramed Earth Reinforced Wall / Column (Refer Spec's Section # 3330) Providing and laying 12" thick Solid Rammed Earth Reinforced Wall to be made-up of a damp mixture of approved soil, cement, pigment (Bayer) and admixtures blend to be consistant for all work and to be poured into an external supported Torsion box that moulds the shape of a wall section creating a solid wall of earth. Wall to be reinforced horizontally and vertically with steel bars as shown on drawings. The wall to be built verticaly in layers not excceding 12" in height well rammed / compressed (mechanically) including consolidation, curing, removal of form work etc. Complete as per Drawings, Specifications and as directed by the Consultants. (Including Steel bars)
a |  | Above Grade | 8800 | CFT | 650 | 5720000
4.4 |  | Ramed Earth Wall Cladding (Refer Specs. Section # 3330, 4050 & 4200) Providing and laying 5" thick Solid Rammed Earth Wall cladding on already laid block walls insulated with 2 1/2" thick insulation board factory applied facing of Aluminum or Kraft paper including metal lathing to board to be made-up of a damp mixture of approved soil, cement, pigment (Bayer) and admixtures blend to be consistant for all work and to be poured into an external supported Torsion box that moulds the shape of a wall section creating a solid wall of earth. The wall to be built verticaly in layers not excceding 12" in height well rammed / compressed (mechanically) including consolidation, curing, removal of form work etc. complete as per Drawings, Specifications and as directed by the Consultants. (Including Steel bars) | 3200 | SFT | 700 | 2240000
Total | [5 empty] | 76617075.64

## Table 5
ITEM |  | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
5 |  | DIVISION 5. METAL WORK
5.1 | ,2 / 91 | Structural Steel Work (Refer Spec's Section # 5120 & 5500) Providing, fabricating and fixing Structural Steel using M.S. Girders/ Angles / Base plates / Gusset Plates / Chequered Plates / V-Plate all kind of Bolts etc, welded properly with each other. (All welded joints to be grinded properly to have smooth finish: All M.S. members shall have sprayed-on Enamel paint finish over a base coat of Zinc chromate) including all necessary hardware and fixing arrangements as shown on Drawings / Details, Specifications and as directed by the Consultants.
a |  | For Photo Volatile Solar System | 34.2 | TON | 96985.64 | 3316908.888 |  | 4928.49 | 112 | 44.0044 | 96.9856 | 96985.6425
b | ,3 / 91 | For Photo Volatile Solar System | 34.2 | TON | 5333.68 | 182411.856 |  | 271.04 | 112 | 2.42 | 5.3337 | 5333.68
b | ,5di+ii+ii / 91 | For Photo Volatile Solar System | 3420 | %Sft. | 1270.83 | 4346238.6 |  | 271.04 | 112 | 2.42 | 5.3337 | 5333.68
5.2 |  | M.S. Railing for staircase (Refer Spec's Section # 5120 & 5500) Providing, fabricating and fixing Mild Steel railing using 3/4" square bar (vertical) at 6" c/c bolted with 6" x 6" x 1/2" thick M.S. plate at alternate steps including 3/4" square bar top & bottom bracing and 2" dia M.S. pipe top hand rail, (All M.S. members shall have sprayed on Enamel paint finished over a base coat of Zinc chromate including all necessary hardware and fixing arrangements as shown on drawings and as directed by the Consultants. | 675 | KG | 102.31 | 69059.25 | 102319.32 | 102.3193
|  | Total |  |  |  | 7914618.594
6 |  | DIVISION 6. WOOD WORK
6.1 | RA | Base Cabinet with Marble Top (Refer Spec's Section # 6400) Providing, making and fixing wooden base cabinet using 3/4" thick Partex board top, adjustable shelves, drawer and shutter with white textured formica topping and 3/4" x 3/8" thick Ash wood lipping on edges, including pre-polished half round edge sharah beige marble top. All Ash wood surface to be finished with clear lacquer polish, including approved hardware, hinges, handles etc. complete as per drawings and as directed by the Consultants. | 70 | SFT | 1600 | 112000
6.2 | RA | Upper Cabinet (Refer Spec's Section # 6400) Providing, making and fixing wooden upper cabinet using 3/4" thick Partex board with white textured formica topping and Ash wood lipping to exposed edges including adjustable shelving. All Ash wood surface to be finished with clear lacquer polish, including approved hardware, hinges, handles etc. complete as per drawings and as directed by the Consultants. | 40 | SFT | 1300 | 52000
|  | Total |  |  |  | 164000

## Table 6
EDUCATION CITY, KARACHI. Bill of Quantities OFFICE BUILDING Division - 7 Moisture Work
ITEM |  | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
7 |  | DIVISION 7. MOISTURE PROTECTION
7.1 |  | Water Proofing for Wet Areas (Refer Spec's Section # 7100) Providing and applying Acrylic based water Proofing, Brush bond of FOSROC or Brushcrete of FEB or approved equivalent in two coats including primer coat. Complete as per drawing and as directed by the Consultants | 750 | SFT | 110 | 82500
7.2 |  | Damp Proof Course (Bitumen Coating). (Refer Spec's Section # 7100) Providing and applying 1/8" thick damp proof course using AHS hycarb bitumen (60 lbs/100 Sft) on top of interior and exterior Plinth beams, complete as per drawing and as directed by the Consultants. | 2000 | SFT | 35 | 70000
7.3 | 9/71 | Bitumen Coating (Refer Spec's Section # 7100) Providing and applying hot bitumen 70-80 grade 60 Lbs. per 100 Sft. to all horizontal and vertical sides of structure upto Plinth Level complete as per drawing and as directed by the Consultants. | 23800 | %Sft. | 778.02 | 18516876
7.4 | 38/38 | Water Proofing Under SOG (Refer Spec's Section # 7100) Providing and applying hot bitumen of grade 80-100 having coverage of 60lbs/100 Sft over screed icluding 6 mill thick polythene sheet over bitumen coating, complete as per drawing and as directed by the Consultant | 15000 | Sft. | 10.7 | 160500
7.5 | 5/34 | Roofing Treatment (Refer Spec's Section # 7560) Providing and laying roofing treatment over flat roof consisting of laying 2" thick (average) C.C. 1:2:4 screed laid in required slope, applying hot bitumen of grade 80-100 having coverage of 60lbs/100 Sft over screed icluding 2" thick heavy density polystyrene board ( 32 kg/cum) insulation over bitumen, having 6 mill thick polythene sheet over polystyrene board, and finally laying 12"x12" Clay Tile finished, complete as per drawing and as directed by the Consultant. | 8400 | %sft. | 5310.35 | 44606940
7.5 | 16c/42 | Roofing Treatment (Refer Spec's Section # 7560) Providing and laying roofing treatment over flat roof consisting of laying 2" thick (average) C.C. 1:2:4 screed laid in required slope, applying hot bitumen of grade 80-100 having coverage of 60lbs/100 Sft over screed icluding 2" thick heavy density polystyrene board ( 32 kg/cum) insulation over bitumen, having 6 mill thick polythene sheet over polystyrene board, and finally laying 12"x12" Clay Tile finished, complete as per drawing and as directed by the Consultant. | 8400 | %sft. | 3275.5 | 27514200
7.5 | MR | Roofing Treatment (Refer Spec's Section # 7560) Providing and laying 2" thick heavy density polystyrene board ( 32 kg/cum) insulation over bitumen, hcomplete as per drawing and as directed by the Consultant. | 8400 | SFT | 260 | 2184000
7.6 | MR | Sealant (Pointing Mastics) (Refer Spec's Section # 7900) Providing and applying sealant of approved manufacturer to provide a positive barrier against penetration of air and moisture at periphery of Aluminum/Wooden Doors, Windows and Ventilators and wherever required as directed by the Consultant. | 1765 | RFT | 50 | 88250
Total | [5 empty] | 93223266

## Table 7
ITEM |  | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
8 |  | DIVISION 8. DOORS/VENTILATORS
8.1 | 28 / 93 | Metal Door Frames (Refer Spec's Section # 8100) Providing, fabricating and fixing hollow metal frame for doors using 20 gauge pressed sheet metal. Frames to be fabricated by continuous welding, reinforcement for hinge, lock and closer, frames to be filled with cement sand mortar (1:6) including anchoring as per details finish with zinc chromate at workshop and with approved enamel paint after installation. Provisions for installation of all hardware shall be
i) |  | Size: 8" x 2" | 450 | RFT | 24.5 | 11025
8.2 | 57 / 65 | Solid Core Door (Refer Spec's Section # 8200) Providing, making and fixing 1 1/2" thick solid Core Door shutter comprising of 6" top rail, 6" mid rail, 6" bottom rail, 6" wide styles (using solid ash wood), having 1 1/4" thick Commercial Ply in between with Formica finish on both faces including approved door lock, hinges and all necessary hardwares. Complete as per drawing and as directed by the Consultants.
a |  | D1 = 3'-3" x 7'-0" | 250 | SFT | 1182.56 | 295640 | 3.25 | 7 | 22.75 | 5687.5 | 129390.625
b |  | D2 = 2'-9" x 7'-0" | 250 | SFT | 1182.56 | 295640 | 2.75 | 7 | 19.25 | 4812.5 | 92640.625
8.3 |  | Frame less Glass Door (Refer Spec's Section # 8800) Providing and fixing frame less glass door using 12mm thick imported clear Tempered glass shutter having custom made S.S. / ash wood handles on both faces including imported concealed pivot hinges, imported door lock with all necessary fixing arrangement, all wooden surface to be finished with clear lacquer polish, complete as per drawing and as directed by the Consultants.
a |  | 6'-0" x 8'-0" | 2 | Each | 86400 | 172800
b |  | 3'-0" x 8'-0" | 13 | Each | 43200 | 561600
8.4 | 53/64 | Fixed Glazing (Internal) (Refer Spec's Section # 8800) Providing and fixing 8mm thick imported tempered clear glass to be fixed with Aluminum U channels etc. with all fixing arrangement, glass to be sealed with Silicon Sealant all around complete in all respect as per drawing and as directed by the Consultants. | 1000 | SFT | 1000 | 1000000 | Item Description not Change
Sub Total
8.5 |  | Fixed Glazing (External) (Refer Spec's Section # 8800) Providing and fixing 8mm thick imported tampered clear glass to be fixed with 4" x 2" approved natural anodized aluminium frame including hardware and all necessary fixing arrangements. Complete as per drawing and as directed by the Consultant | 350 | SFT | 1250 | 437500
8.6 | 84a/108 | Aluminum Windows / Ventilators (Refer Spec's Section # 8520) Providing and fixing aluminum glazed windows and ventilators using natural anodized aluminum (openable/fixed) with fly proof shutters section as approved by the Architects including 6mm thick clear glass with all necessary fixing arrangents including approved quality hardwares, handles, latches etc. Complete as per drawing and as directed by Consultants. | 1300 | SFT | 1500 | 1950000 | Item Description not Change
Sub Total | [5 empty] | 4724205
Collection Division 8, Page 1 Division 8, Page 2
Total | [5 empty] | 4724205

## Table 8
ITEM |  | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
9 |  | DIVISION 9. FINISHES
9.1 | 12b/52 | Internal Plaster (Refer Specs. Section #. 9200) Providing and applying 1/2" thick smooth cement sand plaster (internal) in plumb and line with ratio 1:5 (1 - cement, 5 - fine sand) on walls, columns and ceiling etc. in straight/curved surfaces at any height including curing, making edges and corners, scaffolding etc., complete in all respect as per drawings and as per directed by the Consultants. Note: Expanded metal to be provided and fixed on the joints between concrete and block masonry and at every joint of electric conduits. | 32200 | %sft. | 2241.8 | 72185960
| 64b/66 |  | 32200 | %sft. | 104.15 | 3353630
9.2 | 11c/52 | External Plaster (Refer Specs. Section #. 9200) Providing and laying 3/4" thick smooth cement sand plaster (1:4) to external surface including scaffolding, leveling, finishing, curing etc. at any height including making vertical and horizontal control joints. Complete in all respect as per drawings and as directed by the Consultants. | 3400 | %sft. | 3191.76 | 10851984
9.3 | 36A+B +B/55 | Matt Enamel Paint on Walls (Refer Specs. Section # 9900) Providing and applying 3 coats of matt enamel paint (Burger/ICI of approved shade) on internal surface, i.e. walls, columns and beam, etc., roller applied having egg-shell finish over a base coat of Primer, including scraping, surface preparation and providing scaffolding complete as per drawings and as directed by the Consultants. | 20000 | %sft. | 3444.38 | 68887600
9.4 | 40A+B +B/56 | Plastic Emulsion Paint on Ceiling (Refer Specs. Section # 9900) Providing and applying 3 coats of Plastic Emulsion Paint (ICI paint/Burger Paint or approved equivalent of approved shade ) on ceiling roller applied over a base coat of Primer including surface preparation and providing scaffolding, complete as per drawings, and as directed by the Consultants. | 12200 | %sft. | 2237.95 | 27302990
Sub Total
9 |  | DIVISION 9. FINISHES
9.5 |  | Glazed Porcelain Tiles Dado (Refer Specs. Section # 9300) Providing and laying Porcelain Tiles dado using following sizes (colour and shade as approved by the Architect) to be laid over 1/2" thick cement sand scratched plaster 1:5 (1-cement, 5 fine sand) including setting the tiles with grey cement slurry jointing, cutting, washing the tiles with matching colour cement slurry, curing and cleaning etc., complete as per drawing and as directed by the Consultants.
a | 38/45 | Kitchen(12"x12") | 350 | %Sft | 28299.3 | 9904755
b | 38/45 | Toilet Area(12"x12") | 1500 | %Sft | 28299.3 | 42448950
9.6 |  | Porcelain Tiles Skirting (Refer Specs. Section # 9300) Providing and laying Porcelain Tiles skirting using 24"x 4" high (colour and shade as approved by the Architect) to be laid over 1/2" thick cement sand scratched plaster 1:5 (1-cement, 5-fine sand) including setting the tiles with gray cement slurry jointing, cutting, washing the tiles with matching colour cement slurry, curing and cleaning etc., complete as per drawing and as directed by the Consultants.
a | 38/45 | Office Area | 545 | %Sft | 28299.3 | 15423118.5
9.7 | 38A+B +B/56 | External Painting / Weather Shield (Refer Specs. Section # 9900) Providing and applying 3 coats of weathershield paint (ICI / Burger Paint or approved equivalent of approved special colour shade ) on external surfaces including applying a coat of primer, preparation of base etc. including cost of steel pipe scaffolding. Complete in all respect as per drawings and as directed by the Consultants. | 3400 | %Sft | 2567.95 | 8731030
9.8 |  | Marble Vanity Top with Apron (Refer Specs. Section # 9630 ) Providing and laying Pre-polished (Chemical polished) 3/4" thick Verona Marble vanity top (Colour and shade as approved by the Architect) having bull nose to be laid over 3/4" thick C.C. bed on R.C.C. vanity slab including 1/2" thick plaster on vanity R.C.C. slab bottom side, complete as per drawing and as directed | 125 | SFT | 1200 | 150000
Sub Total
9 |  | DIVISION 9. FINISHES
9.9 |  | Vanity Mirror Providing and fixing imported Mirror 6mm thick having 1" Dia. Stainless Steel Studd to be screwed on Toilet wall complete in all respects as per drawings and as directed by the Consultants. | 80 | SFT | 1200 | 96000
9.1 |  | Matt Porcelain Tile Flooring. (Refer Specs. Section #. 9300)
| 25/43 | Providing and laying porcelain tiles floor using following sizes Matt finish (Colour and shade as approved by the Architect) to be laid over 2 3/4"thick cement sand (1:5) mortar bed including setting and jointing and washing the tiles with white cement slurry etc. as per drawings and as directed by the Consultants.
a |  | Office Area (24"x24") | 10000 | %Sft | 27747.06 | 277470600
b |  | Kitchen (12"x12") | 125 | %Sft | 27747.06 | 3468382.5
c |  | Toilet Area (12"x12") | 450 | %Sft | 27747.06 | 12486177
,
9.11 | 28/43 | Marble Steps for Staircase (Refer Specs. Section #. 9630) Providing and laying 3/4" thick Pre - polished Marble for steps, landing and riser ( Sample as approved by the Architects) to be laid over 1 1/2" or 2" thick (Avg.) cement sand (1:5) mortar bed including cutting, leveling, jointing, curing, etc. Complete as shown on drawings and as directed by the Consultants.
|  | Tread / Landing | 600 | SFT | 567.48 | 340488
9.12 |  | Plane Gypsum Board Ceiling/Bulkhead (Refer Spec's Section # 9250) Providing and fixing suspended ceiling using 1/2" thick tapered edge gypsum board ceiling Bulkhead including suspension systems, attachment devices, hangers, edge mouldings, trim clips and trimming and any extra hangers as required, including making provision for light fixtures etc., complete as per drawings and as directed by the Consultants. | 2400 | SFT | 300 | 720000
Sub Total
9 |  | DIVISION 9. FINISHES
9.13 |  | Stone Coping (Refer Specs. Section # 9630 ) Providing and fixing 18" x 3" thick Stone coping on parapet top to be laid on cement sand mortar including setting with maching cement slurry and jointing/washing the ledges, curing and cleaning etc. Complete as per Drawings, and as directed by the Consultants. | 570 | RFT | 150 | 85500
9.14 | 6bi+c/16 | Concrete Window Sill (Refer Specs. Section # 3400) Providing and fixing pre-cast concrete window sill to be laid on cement sand mortar including setting with grey cement slurry and jointing/washing the ledges, curing and cleaning etc. Complete as per Drawings, and as directed by the Consultants. | 25 | Cft. | 351.55 | 8788.75
9.15 |  | Precast Water Spout (Refer Specs. Section # 3400) Providing and fixing rain water spout on top roof and making channel from roof to Ground Floor on wall.Complete as per drawings and as directed by the Consultants. | 6 | EACH | 2000 | 12000
9.16 | 6bi+c/16 | R.C.C. Vanity Slab (Refer Specs. Section # 3300) Providing and laying Reinforced cement concrete (1:2:4) slab with 3/8" dia steel bars both way @ 6" c/c. including making provision for opening as per vanity size and shape, complete in all respect as per drawing and as directed by the Consultants. (Including Steel) | 35 | Cft. | 351.55 | 12304.25
Sub Total | [5 empty] | 553940258
Collection Division 9, Page 1 Division 9, Page 2 Division 9, Page 3 Division 9, Page 4
Total
STAFF BUILDING

## Table 9
EDUCATION CITY KARACHI STAFF BUILDING SUMMARY SHEET CIVIL & I.D. WORKS
|  | DIVISION | AMOUNT
DIVISION | 1 : | DISMANTLING WORK | -------------- Rs. NIL
DIVISION | 2 : | SITE WORK | 47974620.25
DIVISION | 3 : | CONCRETE | 156961013.295
DIVISION | 4 : | BLOCK MASONRY | 36059932.8
DIVISION | 5 : | METALS | 14834.95
DIVISION | 6 : | WOOD WORK | 198000
DIVISION | 7 : | MOISTURE PROTECTION | 8393088
DIVISION | 8 : | DOORS WINDOWS AND VENTILATORS | 1333008.16
DIVISION | 9 : | FINISHES | 79368342.6
|  | TOTAL : | 330302840.055
CONTRACTOR'S SIGNATURE AND STAMP

## Table 10
EDUCATION CITY, KARACHI. Bill of Quantities STAFF BUILDING Division-2 Site Work
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
2 | DIVISION 2. SITE WORK
2.1 | Excavation (Refer Spec's Section # 2300) Excavation for foundation of columns, walls, etc. in all kinds of soil upto any depth and lead including back filling of excavated earth in foundation trenches and spreading the approved surplus earth in plinth area and or depressions where required including making provision for shoring of loose soil if requried and removal of excavated earth upto 5'-0" from edge of exavation complete as per drawing and as directed | 11425 | CFT | 3176.25 | 36288656.25
2.2 | Termite Proofing (Refer Spec's Section # 2360) Providing and carrying out termite proofing to all horizontal and vertical excavated surfaces to reduced level of excavation, layers of fill and under all floors, external area, courtyard and tree pits at every 6" layers shall received termite using "Agenda 25 EC" by Jaffer Brothers or approved equivalent and shall be applied as directed by the consultants. (Plinth Area) | 3600 | SFT | 9.74 | 35064
2.3 | Earth Filling (Refer Spec's Section # 2300) Earth filling in plinth, depression and where ever required laid in 6" layer well watered, consolidated and compacted with mechanical means to achive 95% modified proctor density at optimum moisture contents complete as per drawing and as directed by the Consultants
a | Brough from out Side | 8650 | CFT | 354 | 3062100
2.4 | Stone Soling (Refer Spec's Section # 2505) Providing and and laying stone soling to 6" thickness with broken stones and filling the voids with stone metal 3/4" to 1 1/2" size and fine sand, well rammed, watered, consolidated and compacted with mechanical means. complete as per drawing and as directed by the Consultant | 3200 | SFT | 2684 | 8588800
Total |  |  |  |  | 47974620.25

## Table 11
ITEM | DESCRIPTION |  | QUANTITY |  | UNIT |  | RATE (Rs) |  | AMOUNT (Rs)
3 | DIVISION - 3 CONCRETE
3.1 | 1:4:8 in Foundation (Refer Specs. Section # 3300) Providing and laying C.C. 1:4:8 bed concrete using sulphate resistance cement, graded screened bajri 3/8" and down gauge as fine aggregate and stone ballast 1" to 2" size as coarse aggregate in foundation over well compacted earth including levelling and curing etc. complete as per drawing and as directed by the Consultants. |  | 840 |  | CFT |  | 11288.75 |  | 9482550
3.2 | 1:3:6 Cast - in - Situ (Refer Specs. Section # 3300) Providing and laying C.C 1:3:6 Cast -in- Situ using sulphate resistance cement, graded screened bajri 3/8" and down gauge as fine aggregate and crushed stone 3/4" and down gauge as coarse aggragate including form work and its removal, curing etc. having minimum works cube crushing strength of 1500 p.s.i. after 28 days curing complete as per drawing and as directed by the Consultants |  | 3775 |  | CFT |  | 12595 |  | 47546125
3.3 | 1:9 Sub - Floor (Refer Specs. Section # 3300) Providing and laying cement concrete 1:9 ( 1 - cement, 9 - graded screened bajri 3/8" and down gauge) for sub floor laid in level/slope as required including consolidating, curing etc. complete as per drawing and as directed by the Consultants
a | 3"th |  | 3200 |  | SFT |  | 12595 |  | 40304000
b | 2"th |  | 3200 |  | SFT |  | 12595 |  | 40304000
3.4 | Reinforced Cement Concrete (f'c 3.0 ksi, Cylindrical Strength) (Refer Specs. Section # 3300) Providing & placing straight or curved cast-in place designed mix Reinforced Cement Concrete having f'c 3.0 ksi (Cylindrical Strength) with machine mixing using S.R. / Ordinary Portland Cement, Erecting / Removing form work leaving unbroken concrete joints, compacting through electro-mechanical vibrator, curing, furnishing all constituent material including placing of all pipes, sleeves, conduits, fittings. Complete as per Drawings, Specifications and as directed by the Consultants. (Excluding cost of Steel Reinforcement)
Upto Plinth Level (Using S.R. Cement)
a. | Footing |  | 1800 |  | CFT |  | 2716.11 |  | 4888998
Sub-Total
b. | Plinth Beams |  | 1720 |  | CFT |  | 2716.11 |  | 4671709.2
c. | Column |  | 170 |  | CFT |  | 2716.11 |  | 461738.7
d. | SOG |  | 1600 |  | CFT |  | 2716.11 |  | 4345776
In Super Structure (Using O.P. Cement)
a. | Columns |  | 305 |  | CFT |  | 2716.11 |  | 828413.55
b. | Beam |  | 785 |  | CFT |  | 2716.11 |  | 2132146.35
c. | Slab
i | 6"thick |  | 1070 |  | CFT |  | 420 |  | 449400
ii | 4"thick |  | 50 |  | CFT |  | 440 |  | 22000
d. | Staircase |  | 25 |  | CFT |  | 478 |  | 11950
e. | Lintle |  | 225 |  | CFT |  | 2716.11 |  | 611124.75
3.5 | Reinforcement Bars (Refer Specs. Section # 3300) Providing cutting, bending, binding and placing reinforcement tor steel bars in position on C.C. pre- cast spacer tying with binding 20SWG complete with the cost of binding wire etc. as per drawing and as directed by the Consultants. |  | 9.5 |  | TON |  | 94850.71 |  | 901081.745
Sub-Total | [8 empty] | 156961013.295
Collection Division 3, Page 1 Division 3, Page 2
4 | DIVISION 4. BLOCK MASONRY
4.1 | Block Masonry (Refer Spec's Section # 4050 & 4200) Providing and laying solid concrete block wall (having strength 800 psi minimum) laid in 1:4 cement mortar including curing,raking out of joints etc, complete as per drawings and as directed by the Consultants
a | 8" thick | 1950 |  | SFT |  | 240 |  | 468000
b | 4" thick | 2245 |  | SFT |  | 14621.44 |  | 32825132.8
4.2 | Cement Concrete Plateform (Refer Specs. Section # 3300) Providig and laying 1:3:6 Plateform 4" high including levelling, curing, etc,complete as per drawings and as directed by the Consultants. | 40 |  | SFT |  | 12595 |  | 503800
4.3 | Entrance Steps (Refer Spec's Section # 4050 & 4200) Providing and laying 1:3:6 C.C solid blocks 6" x 8" x 12" for entrance steps laid in mortar 1:6 (1 - cement 6 - fine sand ) with levelling, curing etc. complete as per drawing and as directed by the Consultants. | 25 |  | CFT |  | 320 |  | 8000
4.4 | Ramed Earth Reinforced Wall / Column (Refer Spec's Section # 3330) Providing and laying 12" thick Solid Rammed Earth Reinforced Wall to be made-up of a damp mixture of approved soil, cement, pigment (Bayer) and admixtures blend to be consistant for all work and to be poured into an external supported Torsion box that moulds the shape of a wall section creating a solid wall of earth. Wall to be reinforced horizontally and vertically with steel bars as shown on drawings. The wall to be built verticaly in layers not excceding 12" in height well rammed / compressed (mechanically) including consolidation, curing, removal of form work etc. Complete as per Drawings, Specifications and as directed by the Consultants. (Including Steel bars)
a | Above Grade | 2500 |  | CFT |  | 650 |  | 1625000
Sub-Total
4.5 | Ramed Earth Wall Cladding (Refer Specs. Section # 3330, 4050 & 4200) Providing and laying 5" thick Solid Rammed Earth Wall cladding on already laid block walls insulated with 2 1/2" thick insulation board factory applied facing of Aluminum or Kraft paper including metal lathing to board to be made-up of a damp mixture of approved soil, cement, pigment (Bayer) and admixtures blend to be consistant for all work and to be poured into an external supported Torsion box that moulds the shape of a wall section creating a solid wall of earth. The wall to be built verticaly in layers not excceding 12" in height well rammed / compressed (mechanically) including consolidation, curing, removal of form work etc. complete as per Drawings, Specifications and as directed by the Consultants. (Including Steel bars) | 900 |  | SFT |  | 700 |  | 630000
Sub-Total
Collection Division 4, Page 1 Division 4, Page 2
Total | [7 empty] | 36059932.8

## Table 12
EDUCATION CITY, KARACHI. Bill of Quantities STAFF BUILDING Division - 5 Metal Work
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
5 | DIVISION 5. METAL WORK
5.1 | M.S. Railing for staircase (Refer Spec's Section # 5120 & 5500) Providing, fabricating and fixing Mild Steel railing using 3/4" square bar (vertical) at 6" c/c bolted with 6" x 6" x 1/2" thick M.S. plate at alternate steps including 3/4" square bar top & bottom bracing and 2" dia M.S. pipe top hand rail, (All M.S. members shall have sprayed on Enamel paint finished over a base coat of Zinc chromate including all necessary hardware and fixing arrangements as shown on drawings and as directed by the Consultants. | 145 | SFT | 102.31 | 14834.95
Total |  |  |  |  | 14834.95

## Table 13
EDUCATION CITY, KARACHI. Bill of Quantities STAFF BUILDING Division - 6 Wood Work
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
6 | DIVISION 6. WOOD WORK
6.1 | Base Cabinet with Marble Top for Kitchen (Refer Spec's Section # 6400) Providing, making and fixing wooden base cabinet using 3/4" thick Partex board top, adjustable shelves, drawer and shutter with white textured formica topping and 3/4" x 3/8" thick Ash wood lipping on edges, including pre- polished half round edge marble top. All Ash wood surface to be finished with clear lacquer polish, including approved hardware, hinges, handles etc. complete as per drawings and as directed by the Consultants. | 75 | SFT | 1600 | 120000
6.2 | Upper Cabinet for Kitchen (Refer Spec's Section # 6400) Providing, making and fixing wooden upper cabinet using 3/4" thick Partex board with white textured formica topping and Ash wood lipping to exposed edges including adjustable shelving. All Ash wood surface to be finished with clear lacquer polish, including approved hardware, hinges, handles etc. complete as per drawings and as directed by the Consultants. | 60 | SFT | 1300 | 78000
Total |  |  |  |  | 198000

## Table 14
EDUCATION CITY, KARACHI. Bill of Quantities STAFF BUILDING Division - 7 Moisture Work
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
7 | DIVISION 7. MOISTURE PROTECTION
7.1 | Water Proofing for Wet Areas (Refer Spec's Section # 7100) Providing and applying Acrylic based water Proofing, Brush bond of FOSROC or Brushcrete of FEB or approved equivalent in two coats including primer coat. Complete as per drawing and as directed by the Consultants. | 125 | SFT | 110 | 13750
7.2 | Damp Proof Course (Bitumen Coating). (Refer Spec's Section # 7100) Providing and applying 1/8" thick damp proof course using AHS hycarb bitumen (60 lbs/100 Sft) on top of interior and exterior Plinth beams, complete as per drawing and as directed by the Consultants. | 550 | SFT | 35 | 19250
7.3 | Bitumen Coating (Refer Spec's Section # 7100) Providing and applying hot bitumen 70-80 grade 60 Lbs. per 100 Sft. to all horizontal and vertical sides of structure upto Plinth Level complete as per drawing and as directed by the Consultants. | 9900 | SFT | 778.02 | 7702398
7.4 | Water Proofing Under SOG (Refer Spec's Section # 7100) Providing and applying hot bitumen of grade 80-100 having coverage of 60lbs/100 Sft over screed icluding 6 mill thick polythene sheet over bitumen coating, complete as per drawing and as directed by the Consultant. | 3200 | SFT | 10.7 | 34240
7.5 | Roofing Treatment (Refer Spec's Section # 7560) Providing and laying roofing treatment over flat roof consisting of laying 2" thick (average) C.C. 1:2:4 screed laid in required slope, applying hot bitumen of grade 80- 100 having coverage of 60lbs/100 Sft over screed icluding 2" thick heavy density polystyrene board ( 32 kg/cum) insulation over bitumen, having 6 mill thick polythene sheet over polystyrene board, and finally laying 12"x12" Clay Tile finished, complete as per drawing and as directed by the Consultant. | 2220 | SFT | 260 | 577200
7.6 | Sealant (Pointing Mastics) (Refer Spec's Section # 7900) Providing and applying sealant of approved manufacturer to provide a positive barrier against penetration of air and moisture at periphery of Aluminum/Wooden Doors, Windows and Ventilators and wherever required as directed by the Consultant. | 925 | RFT | 50 | 46250
Total |  |  |  |  | 8393088

## Table 15
EDUCATION CITY, KARACHI. Bill of Quantities STAFF BUILDING Division - 8 Doors/Windows/Vent.
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
8 | DIVISION 8. DOORS/VENTILATORS
8.1 | Metal Door Frames (Refer Spec's Section # 8100) Providing, fabricating and fixing hollow metal frame for doors using 16 gauge pressed sheet metal. Frames to be fabricated by continuous welding, reinforcement for hinge, lock and closer, frames to be filled with cement sand mortar (1:6) including anchoring as per details finish with zinc chromate at workshop and with approved enamel paint after installation. Provisions for installation of all hardware shall be made in the frame.
a | Size: 10" x 2" | 200 | RFT | 600 | 120000
8.2 | Solid Core Door (Refer Spec's Section # 8200) Providing, making and fixing 1 1/2" thick solid Core Door shutter comprising of 6" top rail, 6" mid rail, 6" bottom rail, 6" wide styles (using solid ash wood), having 1 1/4" thick Commercial Ply in between with Formica finish on both faces including approved door lock, hinges and all necessary hardwares. Complete as per drawing and as directed by the Consultants.
a | D1 = 3'-3" x 7'-0" (Bed Rooms and Lounge) | 8 | Each | 1182.56 | 9460.48
b | D2 = 2"-9" x 7'-0" (Kitchen and Toilet) | 3 | Each | 1182.56 | 3547.68
8.3 | Aluminum Windows / Ventilators (Refer Spec's Section # 8520) Providing and fixing aluminum glazed windows and ventilators using natural anodized aluminum (openable/fixed) with fly proof shutters section as approved by the Architects including 6mm thick clear glass with all necessary fixing arrangents including approved quality hardwares, handles, latches etc. Complete as per drawing and as directed by Consultants. | 800 | SFT | 1500 | 1200000
Total |  |  |  |  | 1333008.16

## Table 16
ITEM |  | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
9 |  | DIVISION 9. FINISHES
9.1 |  | Internal Plaster (Refer Specs. Section #. 9200) Providing and applying 1/2" thick smooth cement sand plaster (internal) in plumb and line with ratio 1:5 (1 - cement, 5 - fine sand) on walls, columns and ceiling etc. in straight/curved surfaces at any height including curing, making edges and corners, scaffolding etc., complete in all respect as per drawings and as per directed by the Consultants. Note: Expanded metal to be provided and fixed on the joints between concrete and block masonry and at every joint of electric conduits. | 7500 | SFT | 2241.8 | 16813500
9.2 |  | External Plaster (Refer Specs. Section #. 9200) Providing and laying 3/4" thick smooth cement sand plaster (1:4) to external surface including scaffolding, levelling, finishing, curing etc. at any height including making vertical and horizontal control joints. Complete in all respect as per drawings and as directed by the Consultants. | 1480 | SFT | 3191.76 | 4723804.8
9.3 |  | Matt Enamel Paint on Walls (Refer Specs. Section # 9900) Providing and applying 3 coats of matt enamel paint (Burger/ICI of approved shade) on internal surface, i.e. walls and columns etc., roller applied having egg-shell finish over a base coat of Primer, including scraping, surface preparation and providing scaffolding complete as per drawings and as directed by the Consultants. | 4750 | SFT | 3444.38 | 16360805
9.4 |  | Plastic Emulsion Paint. (Refer Specs. Section # 9900) Providing and applying 3 coats of Plastic Emulsion paint (ICI/Berger/Jotun paint or approved equivalent of approved shade) to concrete / gypsum ceiling and applying a coat of primer, preparation of base etc. Compete as shown on drawings and as directed by the Consultants | 2750 | SFT | 2237.95 | 6154362.5
9.5 |  | External Painting / Weather Shield (Refer Specs. Section # 9900) Providing and applying 3 coats of weathershield paint (ICI / Burger Paint or approved equivalent of approved special colour shade ) on external surfaces including applying a coat of primer, preparation of base etc. including cost of steel pipe scaffolding. Complete in all respect as per drawings and as directed by the Consultants. | 1480 | SFT | 2567.95 | 3800566
Sub-Total
9.6 |  | Matt Porcelain Tile Flooring. (Refer Specs. Section #. 9300) Providing and laying porcelain tiles floor using following sizes Matt finish (Colour and shade as approved by the Architect) to be laid over 2 3/4"thick cement sand (1:5) mortar bed including setting and jointing and washing the tiles with white cement slurry etc. as per drawings and as directed by the Consultants.
a |  | 12" x 12" Kitchen | 55 | SFT | 27747.06 | 1526088.3
b |  | 24" x 12" Toilet / Powder | 105 | SFT | 400 | 42000
9.7 |  | Glazed Porcelain Tiles Dado (Refer Specs. Section # 9300) Providing and laying Porcelain Tiles dado using following sizes (colour and shade as approved by the Architect) to be laid over 1/2" thick cement sand scratched plaster 1:5 (1-cement, 5-fine sand) including setting the tiles with grey cement slurry jointing, cutting, washing the tiles with matching colour cement slurry, curing and cleaning etc., complete as per drawing and as directed by the Consultants.
a |  | 24"x 12" Toilet (Matt Finish) | 450 | SFT | 28299.3 | 12734685
b |  | 4"x 4" Kitchen (Polished Finish) | 65 | SFT | 28299.3 | 1839454.5
9.8 |  | Porcelain Tiles Skirting (Refer Specs. Section # 9300) Providing and laying Porcelain tiles Skirting 4" High over 1/2" thick cement sand scretched plaster 1:4 (1- cement, 4-fine sand) including setting the tiles with white cement slurry and jointing/washing the tiles with white cement slurry in required shade, curing and cleaning etc. Complete in all respect as per drawings and as directed by the Consultants. | 30 | RFT | 28299.3 | 848979
9.9 | 16c/42 | Cement Concrete Floor (Refer Specs. Section # 9740) Providing and laying 2" thick cement concrete 1:6 ( 1 - cement, 6 - graded screened bajri 3/8" and down gauge) for cement concrete floor laid in level/slope as required including consolidating, curing etc. complete as per drawing and as directed by the Consultants. | 3040 | %Sft. | 4411.82 | 13411932.8
9.1 | 16c/42 | Cement Concrete finish for Staircase (Refer Specs. Section # 9740) Providing and laying cement concrete 1:6 ( 1 - cement, 6 graded screened bajri 3/8" and down gauge) for cement concrete finish of staircase laid in level/slope as required including consolidating, curing etc. complete as per drawing and as directed by the Consultants. | 220 | %Sft. | 4411.82 | 970600.4
Sub-Total
9.11 |  | Precast Water Spout (Refer Specs. Section # 3400) Providing and fixing rain water spout on top roof and making channel from roof to Ground Floor on wall.Complete as per drawings and as directed by the Consultants. | 4 | Each | 2000 | 8000
9.12 |  | Vanity Mirror Providing and fixing imported Mirror 6mm thick having 1" Dia. Stainless Steel Studd to be screwed on Toilet wall complete in all respects as per drawings and as directed by the Consultants. | 30 | SFT | 1200 | 36000
9.13 |  | R.C.C. Vanity Slab (Refer Specs. Section # 3300) Providing and laying Reinforced cement concrete (1:2:4) slab with 3/8" dia steel bars both way @ 6" c/c. including making provision for opening as per vanity size and shape, complete in all respect as per drawing and as directed by the Consultants.(Including Steel) | 16 | SFT | 351.55 | 5624.8
9.14 |  | Marble Vanity Top with Apron . Providing and laying Pre-polished (Chemical polished) 3/4" thick Verona Marble vanity top (Colour and shade as approved by the Architect) having bull nose to be laid over 3/4" thick C.C. bed on R.C.C. vanity slab including 1/2" thick plaster on vanity R.C.C. slab bottom side, complete as per drawing and as directed by the Consultants. | 19 | SFT | 1200 | 22800
9.15 |  | Concrete Window Sill (Refer Specs. Section # 3400) Providing and fixing pre-cast concrete window sill to be laid on cement sand mortar including setting with grey cement slurry and jointing/washing the ledges, curing and cleaning etc. Complete as per Drawings, and as directed by the Consultants. | 90 | RFT | 351.55 | 31639.5
9.16 |  | Stone Coping (Refer Specs. Section # 9630) Providing and fixing 18" x 3" thick Stone coping on parapet top to be laid on cement sand mortar including setting with maching cement slurry and jointing/washing the ledges, curing and cleaning etc. Complete as per Drawings, and as directed by the Consultants. | 250 | RFT | 150 | 37500
Sub-Total
Collection Division 9, Page 1 Division 9, Page 2 Division 9, Page 3
Total | [5 empty] | 79368342.6
EXTERNAL DEVELOPMENT

## Table 17
EDUCATION CITY KARACHI EXTERNAL DEVELOPMENT WORK SUMMARY SHEET
|  | DIVISION | AMOUNT
|  | -------------- | --------------
DIVISION | 1 : | DISMANTLING WORK | Rs. NIL
DIVISION | 2 : | SITE WORK | 305949639.5
DIVISION | 3 : | CONCRETE | 959345709.98
DIVISION | 4 : | BLOCK MASONRY | 1865565.2
DIVISION | 5 : | METALS | 11452500
DIVISION | 6 : | WOOD WORK | Rs. NIL
DIVISION | 7 : | MOISTURE PROTECTION | 2638065
DIVISION | 8 : | DOORS WINDOWS AND VENTILATORS | 70845.12
DIVISION | 9 : | FINISHES | 18244009
DIVISION | 10 : | PLANTATION | 2105000
|  | TOTAL : | 1301671333.8
CONTRACTOR'S SIGNATURE AND STAMP

## Table 18
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
2 | DIVISION 2. SITE WORK
2.1 | Excavation (Refer Spec's Section # 2300) Excavation for foundation of columns, walls, etc. in all kinds of soil upto any depth and lead including back filling of excavated earth in foundation trenches and spreading the approved surplus earth in plinth area and or depressions where required including making provision for shoring of loose soil if requried and removal of excavated earth upto 5'-0" from edge of exavation complete as per drawing and as directed by the | 32000 | CFT | 3176.25 | 101640000
2.2 | Termite Proofing (Refer Spec's Section # 2360) Providing and carrying out termite proofing to all horizontal and vertical excavated surfaces to reduced level of excavation, layers of fill and under all floors, external area, courtyard and tree pits at every 6" layers shall received termite using "Agenda 25 EC" by Jaffer Brothers or approved equivalent and shall be applied as directed by the consultants. (Plinth Area) | 425 | SFT | 9.74 | 4139.5
2.3 | Earth Filling (Refer Spec's Section # 2300) Earth filling in plinth, depression and where ever required laid in 6" layer well watered, consolidated and compacted with mechanical means to achive 95% modified proctor density at optimum moisture contents complete as per drawing and as directed by the Consultants | 99500 | CFT | 354 | 35223000
2.4 | Stone Soling (Refer Spec's Section # 2505) Providing and and laying stone soling with broken stones and filling the voids with stone metal 3/4" to 1 1/2" size and fine sand, well rammed, watered, consolidated and compacted with mechanical means. complete as per drawing and as directed by the Consultant
a | 6" Thick (Below Rip Rap Stone Floor / Footpath) | 62500 | SFT | 2684 | 167750000
Sub Total
2.5 i) ii) iii) iv) v) vi) | Water Bound Maccadum (For Road) Providing & laying Water Bound Maccadum with the following items: Spread Stone Ballast (Avg. size 2"), the loose material to be 4" in thickness and roll with 3-passes of 10 ton roller. Spread excavated clay on stone ballast. Keep spreading the clay untill the clay fills all voids. Ensure that the earth does not cover the stone ballast, if it does - broom finish the surface. Stone ballast should remain visible all the time. Sprinkle water in small quantity so that clay layer becomes damp. Start compaction with 10 ton roller. Add more clay, Sprinkle water & compact untill move of the roller squeezez water out of WBM. Repeat steps (i) to (v) to achieve total thickness. All above to be taken as a complete job in accordance with relevant drawings and as directed by the Consultants. | 20500 | SFT | 65 | 1332500
Collection Division 2, Page 1 Division 2, Page 2
Total |  |  |  |  | 305949639.5

## Table 19
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
3 | DIVISION - 3 CONCRETE
3.1 | 1:4:8 in Foundation (Refer Specs. Section # 3300) Providing and laying C.C. 1:4:8 bed concrete using sulphate resistance cement, graded screened bajri 3/8" and down gauge as fine aggregate and stone ballast 1" to 2" size as coarse aggregate in foundation over well compacted earth including levelling and curing etc. complete as per drawing and as directed by the Consultants. | 3550 | CFT | 11288.75 | 40075062.5
3.2 | 1:3:6 Cast - in - Situ (Refer Specs. Section # 3300) Providing and laying C.C 1:3:6 Cast -in- Situ using sulphate resistance cement, graded screened bajri 3/8" and down gauge as fine aggregate and crushed stone 3/4" and down gauge as coarse aggragate including form work and its removal, curing etc. having minimum works cube crushing strength of 1500 p.s.i. after 28 days curing complete as per drawing and as directed by the Consultants | 21500 | CFT | 12595 | 270792500
3.3 | 1:9 Sub Floor. (Refer Specs. Section # 3300) Providing and laying cement concrete 1:9 ( 1 - cement, 9 - graded screened bajri 3/8" and down gauge) for sub floor laid in level/slope as required including consolidating, curing etc. complete as per drawing and as directed by the Consultants
i) | Rip Rap Base Floor
a | 3"th | 25000 | SFT | 12595 | 314875000
b | 2"th | 25000 | SFT | 12595 | 314875000
Sub Total
3.4 | Reinforced Cement Concrete (f'c 3.0 ksi, Cylindrical Strength) (Refer Specs. Section # 3300) Providing & placing straight or curved cast-in place designed mix Reinforced Cement Concrete having f'c 3.0 ksi (Cylindrical Strength) with machine mixing using S.R. / Ordinary Portland Cement, Erecting / Removing form work leaving unbroken concrete joints, compacting through electro-mechanical vibrator, curing, furnishing all constituent material including placing of all pipes, sleeves, conduits, fittings. Complete as per Drawings, Specifications and as directed by the Consultants. (Excluding cost of Steel Reinforcement)
Upto Plinth Level (Using S.R. Cement)
a. | Footing | 575 | CFT | 2716.11 | 1561763.25
b. | Plinth Beams | 875 | CFT | 2716.11 | 2376596.25
c. | Column | 60 | CFT | 2716.11 | 162966.6
d. | SOG 4" Thick | 700 | CFT | 2716.11 | 1901277
In Super Structure (Using O.P. Cement)
a. | Columns | 80 | CFT | 2716.11 | 217288.8
b. | Beams | 90 | CFT | 2716.11 | 244449.9
c. | Slab (6"thick) | 250 | CFT | 420 | 105000
3.5 | Reinforcement Bars (Refer Specs. Section # 3300) Providing cutting, bending, binding and placing reinforcement tor steel bars in position on C.C. pre- cast spacer tying with binding 20SWG complete with the cost of binding wire etc. as per drawing and as directed by the Consultants. | 8 | TON | 94850.71 | 758805.68
3.6 | Providing & Laying cement cocrete interlocking Paver 80mm blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineerin-charge. as per shown in drawings | 12000 | Sqft | 200 | 2400000
3.7 | Providing and fixing of boundary walll fence as per drawing complete in all respect. | 2000 | Rft | 4500 | 9000000
Sub Total
Collection Division 3, Page 1 Division 3, Page 2
Total |  |  |  |  | 959345709.98

## Table 20
EDUCATION CITY, KARACHI. Bill of Quantities EXTERNAL DEVELOPMENT Division - 4 Block Masonry
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
4 | DIVISION 4. BLOCK MASONRY
4.1 | Block Masonry (Refer Spec's Section # 4050 & 4200) Providing and laying solid concrete block wall (having strength 800 psi minimum) laid in 1:4 cement mortar including curing,raking out of joints etc, complete as per drawings and as directed by the Consultants
a | 8" thick | 90 | SFT | 240 | 21600
b | 4" thick | 80 | SFT | 14621.44 | 1169715.2
4.2 | Ramed Earth Reinforced Wall / Column (Refer Spec's Section # 3330) Providing and laying 12" thick Solid Rammed Earth Reinforced Wall to be made-up of a damp mixture of approved soil, cement, pigment (Bayer) and admixtures blend to be consistant for all work and to be poured into an external supported Torsion box that moulds the shape of a wall section creating a solid wall of earth. Wall to be reinforced horizontally and vertically with steel bars as shown on drawings. The wall to be built verticaly in layers not excceding 12" in height well rammed / compressed (mechanically) including consolidation, curing, removal of form work etc. Complete as per Drawings, Specifications and as directed by the Consultants. (Including Steel bars)
a | Above Grade | 865 | CFT | 650 | 562250
4.3 | Ramed Earth Wall Cladding (Refer Specs. Section # 3330, 4050 & 4200) Providing and laying 5" thick Solid Rammed Earth Wall cladding on already laid block walls insulated with 2 1/2" thick insulation board factory applied facing of Aluminum or Kraft paper including metal lathing to board to be made-up of a damp mixture of approved soil, cement, pigment (Bayer) and admixtures blend to be consistant for all work and to be poured into an external supported Torsion box that moulds the shape of a wall section creating a solid wall of earth. The wall to be built verticaly in layers not excceding 12" in height well rammed / compressed (mechanically) including consolidation, curing, removal of form work etc. complete as per Drawings, Specifications and as directed by the Consultants. (Including Steel bars) | 160 | SFT | 700 | 112000
Total |  |  |  |  | 1865565.2

## Table 21
EDUCATION CITY, KARACHI. Bill of Quantities EXTERNAL DEVELOPMENT Division - 5 Metal Work
ITEM | DESCRIPTION | QUANTITY |  | UNIT |  | RATE (Rs) |  | AMOUNT (Rs)
5 | DIVISION 5. METAL WORK
5.1 | Structural Steel Work (Refer Spec's Section # 5120 & 5500) Providing, fabricating and fixing Structural Steel using M.S. Girders/ Angles / Base plates / Gusset Plates / Chequered Plates / V-Plate all kind of Bolts etc, welded properly with each other. (All welded joints to be grinded properly to have smooth finish: All M.S. members shall have sprayed-on Enamel paint finish over a base coat of Zinc chromate) including all necessary hardware and fixing arrangements as shown on Drawings / Details, Specifications and as directed by the Consultants.
a | For Photo Volatile Solar System | 22 |  | TON |  | 450000 |  | 9900000
5.2 | M.S. Gates (Refer Spec's Section # 5120 & 5500) Providing, fabricating and fixing Metal gates frame hollow tube vertical posts at each ends. The shutter to be made up horizonital M.S. solid bar @ 4" equal distances, welded with vertical post. 1" x 1" vertical M.S. solid bars to be inserted & welded in horizontal bar holes @ 4" c/c. with all necessary fixing arrangements, wheel, stainless steel track, Lock, flanges & anchor bolts.Including applying 2 coats of approved color zinc chromate. complete in all respect as per drawings & as directed by the consultant. | 200 |  | SFT |  | 2250 |  | 450000
5.3 | Barbed wire (Refer Spec's Section # 5120 & 5500) Providing , fabricating and fixing barbed wire on outer periphery, using 1 1/2'' x 1 1/2''x 1/8"thick M.S. angle (vertical) @ 10'-0" c/c and barbed wire (horizontal) @ 9" c/c. fixed with M.S. angle including all necessary hardware and fixing arrangemnts as per drawings and as directed by the Consultants. | 2450 |  | RFT |  | 450 |  | 1102500
Total | [7 empty] | 11452500
7 | DIVISION 7. MOISTURE PROTECTION
7.1 | Water Proofing for Wet Areas (Refer Specs. Section # 7100) Providing and applying Acrylic based water Proofing, Brush bond of FOSROC or Brushcrete of FEB or approved equivalent in two coats including primer coat. Complete as per drawing and as directed by the Consultants |  | 30 |  | SFT |  | 110 | 3300
7.2 | Damp Proof Course (Bitumen Coating). (Refer Specs. Section # 7100) Providing and applying 1/8" thick damp proof course using AHS hycarb bitumen (60 lbs/100 Sft) on top of interior and exterior Plinth beams, complete as per drawing and as directed by the Consultants. |  | 435 |  | SFT |  | 35 | 15225
7.3 | Bitumen Coating (Refer Specs. Section # 7100) Providing and applying hot bitumen 70-80 grade 60 Lbs. per 100 Sft. to all horizontal and vertical sides of structure upto Plinth Level complete as per drawing and as directed by the Consultants. |  | 2000 |  | SFT |  | 778.02 | 1556040
7.4 | Water Proofing Under SOG / Rip Rap Stone Floor (Refer Specs. Section # 7100) Providing and applying hot bitumen of grade 80-100 having coverage of 60lbs/100 Sft over screed icluding 6 mill thick polythene sheet over bitumen coating, complete as per drawing and as directed by the Consultant
a | Under SOG |  | 2150 |  | SFT |  | 35 | 75250
b | Under Stone Floor |  | 25000 |  | SFT |  | 35 | 875000
7.5 | Roofing Treatment (Refer Specs. Section # 7560) Providing and laying roofing treatment over flat roof consisting of laying 2" thick (average) C.C. 1:2:4 screed laid in required slope, applying hot bitumen of grade 80-100 having coverage of 60lbs/100 Sft over screed icluding 2" thick heavy density polystyrene board ( 32 kg/cum) insulation over bitumen, having 6 mill thick polythene sheet over polystyrene board, and finally laying 12"x12" Clay Tile finished, complete as per drawing and as directed by the Consultant. |  | 425 |  | SFT |  | 260 | 110500
Sub Total
7.6 | Sealant (Pointing Mastics) (Refer Specs. Section # 7900) Providing and applying sealant of approved manufacturer to provide a positive barrier against penetration of air and moisture at periphery of Aluminum/Wooden Doors, Windows and Ventilators and wherever required as directed by the Consultant |  | 55 |  | RFT |  | 50 | 2750
Sub Total
Collection Division 7, Page 1 Division 7, Page 2
Total | [7 empty] | 2638065

## Table 22
EDUCATION CITY, KARACHI. Bill of Quantities EXTERNAL DEVELOPMENT Division - 8 Doors/Windows/Vent.
ITEM | DESCRIPTION | QUANTITY |  | UNIT |  | RATE (Rs)
8 | DIVISION 8. DOORS/VENTILATORS
8.1 | Metal Door Frames (Refer Specs. Section # 8100) Providing, fabricating and fixing hollow metal frame for doors using 16 gauge pressed sheet metal. Frames to be fabricated by continuous welding, reinforcement for hinge, lock and closer, frames to be filled with cement sand mortar (1:6) including anchoring as per details finish with zinc chromate at workshop and with approved enamel paint after installation. Provisions for installation of all hardware shall be made in the frame.
i) | Size: 8" x 2" | 40 |  | RFT |  | 24.5 |  | 980
8.2 | Solid Core Door (Refer Specs. Section # 8200) Providing, making and fixing 1 1/2" thick solid Core Door shutter comprising of 6" top rail, 6" mid rail, 6" bottom rail, 6" wide styles (using solid ash wood), having 1 1/4" thick Commercial Ply in between with Formica finish on both faces including approved door lock, hinges and all necessary hardwares. Complete as per drawing and as directed by the Consultants..
a | D1 = 3'-3" x 7'-0" | 1 |  | EACH |  | 1182.56 |  | 1182.56
b | D2 = 2'-9" x 7'-0" | 1 |  | EACH |  | 1182.56 |  | 1182.56
8.3 | Aluminum Windows / Ventilators (Refer Spec's Section # 8520) Providing and fixing aluminum glazed windows and ventilators using natural anodized aluminum (openable/fixed) with fly proof shutters section as approved by the Architects including 6mm thick clear glass with all necessary fixing arrangents including approved quality hardwares, handles, latches etc. Complete as per drawing and as directed by Consultants. | 45 |  | SFT |  | 1500 |  | 67500
| Total | [6 empty] | 70845.12
9 | DIVISION 9. FINISHES
9.1 | Internal Plaster (Refer Specs. Section #. 9200) Providing and applying 1/2" thick smooth cement sand plaster (internal) in plumb and line with ratio 1:5 (1 - cement, 5 - fine sand) on walls, columns and ceiling etc. in straight/curved surfaces at any height including curing, making edges and corners, scaffolding etc., complete in all respect as per drawings and as per directed by the Consultants. Note: Expanded metal to be provided and fixed on the joints between concrete and block masonry and at every joint of electric conduits. |  | 700 |  | SFT |  | 2241.8 | 1569260
9.2 | External Plaster (Refer Specs. Section #. 9200) Providing and laying 3/4" thick smooth cement sand plaster (1:4) to external surface including scaffolding, levelling, finishing, curing etc. at any height including making vertical and horizontal control joints. Complete in all respect as per drawings and as directed by the Consultants. |  | 200 |  | SFT |  | 3191.76 | 638352
9.3 | Matt Enamel Paint on Walls (Refer Specs. Section # 9900) Providing and applying 3 coats of matt enamel paint (Burger/ICI of approved shade) on internal surface, i.e. walls and columns etc., roller applied having egg-shell finish over a base coat of Primer, including scraping, surface preparation and providing scaffolding complete as per drawings and as directed by the Consultants. |  | 300 |  | SFT |  | 3444.38 | 1033314
9.4 | Plastic Emulsion Paint on Ceiling (Refer Specs. Section # 9900) Providing and applying 3 coats of Plastic Emulsion paint (ICI/Berger/Jotun paint or approved equivalent of approved shade) to concrete / gypsum ceiling and applying a coat of primer, preparation of base etc. Compete as shown on drawings and as directed by the Consultants. |  | 400 |  | SFT |  | 2237.95 | 895180
Sub Total
9.5 | External Painting / Weather Shield (Refer Specs. Section # 9900) Providing and applying 3 coats of weathershield paint (ICI / Burger Paint or approved equivalent of approved special colour shade ) on external surfaces including applying a coat of primer, preparation of base etc. including cost of steel pipe scaffolding. Complete in all respect as per drawings and as directed by the Consultants. |  | 200 |  | SFT |  | 2567.95 | 513590
9.6 | Glazed Porcelain Tiles Dado (Refer Specs. Section # 9300) Providing and laying Porcelain Tiles dado using following sizes (colour and shade as approved by the Architect) to be laid over 1/2" thick cement sand scratched plaster 1:5 (1-cement, 5-fine sand) including setting the tiles with grey cement slurry jointing, cutting, washing the tiles with matching colour cement slurry, curing and cleaning etc., complete as per drawing and as directed by the |  | 140 |  | SFT |  | 420 | 58800
" "
9.7 | Matt Porcelain Tile Flooring. (Refer Specs. Section #. 9300) Providing and laying porcelain tiles floor using following sizes Matt finish (Colour and shade as approved by the Architect) to be laid over 2 3/4"thick cement sand (1:5) mortar bed including setting and jointing and washing the tiles with white cement slurry etc. as per drawings and as directed by the Consultants
a | 8" x 8" toilet |  | 30 |  | SFT |  | 420 | 12600
9.8 | Cement Concrete Floor (Refer Specs. Section # 9740) Providing and laying 2" thick cement concrete 1:6 ( 1 - cement, 6 - graded screened bajri 3/8" and down gauge) for cement concrete floor laid in level/slope as required including consolidating, curing etc. complete as per drawing and as directed by the Consultants |  | 2150 |  | SFT |  | 4411.82 | 9485413
9.9 | Loose Gravel Filling Providing and spreading Loose Gravel filling 1 1/2" and 2" down gauge in c.c. channel, complete as per drawing and as directed by the Consultants. (4" Thick Layer) |  | 20500 |  | SFT |  | 50 | 1025000
Sub Total
9.1 | Washed Terrazo in Situ Flooring (Refer Specs. Section # 9400) Providing and laying 3/4" thick grey cement Washed Terrazo laid over 2" thick cement sand mortar, Complete as per drawing, and as directed by the Consultants. |  | 3500 |  | SFT |  | 75 | 262500
9.11 | Rip Rap Stone Providing and laying 2' thick Random Size Rip Rap Stone on embankment to be laid over 1 1/2" or 2" thick (Avg.) cement sand (1:5) mortar bed including leveling, dressing, curing and jointing. etc. Complete as shown on drawings and as directed by the Consultants. |  | 25000 |  | SFT |  | 110 | 2750000
Sub Total
Collection Division 9, Page 1 Division 9, Page 2 Division 9, Page 3
Total | [7 empty] | 18244009

## Table 23
EDUCATION CITY, KARACHI. Bill of Quantities EXTERNAL DEVELOPMENT DIVISION 10 : PLANTATION
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE Rs. | AMOUNT Rs.
10.1 | PLANTATION Providing and Planting following Trees with making Pits and filling Sweet Earth as approved by the Architect or Consultant.
a | Ficus 9'-0" to 10'-0" high | 50 | No | 10000 | 500000
10.2 | Grass Providing and Planting Grass and manure as approved by the Architect including making burm where ever required including sweet earth filling up to 1'-0" depth and as directed by the Consultants | 500 | SFT | 120 | 60000
10.3 | Ground Cover Providing and Planting Ground covers and manure as approved by the Architect including sweet earth filling up to 9"depth and as directed by the Consultants. | 100 | SFT | 100 | 10000
10.4 | Chlerodendron Providing and Planting Chlerodendron and manure as approved by the Architect including sweet earth filling up to 24"depth and as directed by the Consultants. | 2500 | RFT | 200 | 500000
10.5 | Stone Kerb Providing and laying pre-cast concrete kerbs 12" wide x 1'-6" high and 6" thick including excavation, lean concrete with leveling, finishing, curing etc. as directed by the Consultants | 2300 | RFT | 450 | 1035000
Total |  |  |  |  | 2105000

## Table 24
EDUCATION CITY, KARACHI. Bill of Quantities UNDER GROUND WATER , TANK SEPTIC TANK & SOAK PIT Division-2 Site Work
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
1 | DIVISION 2. SITE WORK
1.1 | Excavation (Refer Spec's Section # 2300) Excavation for under ground water tank, saptic tank & soak pit, etc. in all kinds of soil upto any depth and lead including back filling of excavated earth and spreading the approved surplus earth and or depressions where required including making provision for shoring of loose soil if requried and removal of excavated earth from edge of exavation complete as per drawing and as directed by the Consultants. | 6605.8395 | CFT | 10 | 66058.3955
1.2 | Termite Proofing (Refer Spec's Section # 2360) Providing and carrying out termite proofing to all horizontal and vertical excavated surfaces to reduced level of excavation, layers of fill and under all floors, external area, courtyard and tree pits at every 6" layers shall received termite using "Agenda 25 EC" by Jaffer Brothers or approved equivalent and shall be applied as directed by the consultants. | 356 | SFT | 25 | 8900
1.3 | Earth Filling (Refer Spec's Section # 2300) Earth filling in plinth, depression and where ever required laid in 6" layer well watered, consolidated and compacted with mechanical means to achive 95% modified proctor density at optimum moisture contents complete as per drawing and as directed by the Consultants.
a | Brough from out Side | 3500 | CFT | 46.32 | 162120
1.4 | Stone Soling (Refer Spec's Section # 2505) Providing and and laying stone soling to 6" thickness with broken stones and filling the voids with stone metal 3/4" to 1 1/2" size and fine sand, well rammed, watered, consolidated and compacted with mechanical means. complete as per drawing and as directed by the | 356 | SFT | 56.4 | 20078.4
1.5 | 1:4:8 in Foundation (Refer Specs. Section # 3300) Providing and laying C.C. 1:4:8 bed concrete using sulphate resistance cement, graded screened bajri 3/8" and down gauge as fine aggregate and stone ballast 1" to 2" size as coarse aggregate in foundation over well compacted earth including levelling and curing etc. complete as per drawing and as directed by the Consultants. | 234.995 | CFT | 270 | 63448.6635
1.6 | Reinforced Cement Concrete (f'c 3.0 ksi, Cylindrical Strength) (Refer Specs. Section # 3300) Providing & placing straight or curved cast-in place designed mix Reinforced Cement Concrete having f'c 3.0 ksi (Cylindrical Strength) with machine mixing using S.R. / Ordinary Portland Cement, Erecting / Removing form work leaving unbroken concrete joints, compacting through electro-mechanical vibrator, curing, furnishing all constituent material including placing of all pipes, sleeves, conduits, fittings. Complete as per Drawings, Specifications and as directed by the Consultants. (Excluding cost of Steel Reinforcement) | 1109.0764 | CFT | 372 | 412576.4305
1.7 | Reinforcement Bars (Refer Specs. Section # 3300) Providing cutting, bending, binding and placing reinforcement tor steel bars in position on C.C. pre- cast spacer tying with binding 20SWG complete with the cost of binding wire etc. as per drawing and as directed by the Consultants. | 4.5352 | TON | 282900 | 1283000.5781
1.8 | Block Masonry (Refer Spec's Section # 4050 & 4200) Providing and laying solid concrete block wall (having strength 800 psi minimum) laid in 1:4 cement mortar including curing,raking out of joints etc, complete as per drawings and as directed by the Consultants.
a | 6" thick | 250 | SFT | 180 | 45000
1.9 | Internal Plaster (Refer Specs. Section #. 9200) Providing and applying 1/2" thick smooth cement sand plaster (internal) in plumb and line with ratio 1:5 (1 - cement, 5 - fine sand) on walls, columns and ceiling etc. in straight/curved surfaces at any height including curing, making edges and corners, scaffolding etc., complete in all respect as per drawings and as per directed by the Consultants. Note: Expanded metal to be provided and fixed on the joints between concrete and block masonry and at every joint of electric conduits. | 624 | SFT | 70 | 43680
Total |  |  |  |  | 2104862.4675

## Table 25
EDUCATION CITY, KARACHI. Bill of Quantities POOL Division-2 Site Work
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE (Rs) | AMOUNT (Rs)
1 | DIVISION 2. SITE WORK
1.1 | Providing/ laying/ fixing complete DRIP Irrigation SYSTEM to provide on Area 1500-2000 sqyd, with Motor Pump ( 3HP) approved brand with complete accessories and PE DRIPPING PIPES 2 inches dia minimum 20 lines about 300ft length each or more as suitable complete Network. wholeGarden area should be covered for watering, before laying design & drawings pump/ motor and pipe Including RCC UGWTank 1500 gallons & POND 500 gallons with Water fall Fountains as mentioned in drawings complete in all respect or as Directed by Engineer. Submit detailed design & drawings prior to work for approval. | 1 | Lumsum | 1850000 | 1850000
Total |  |  |  |  | 1850000